## DB20 bin from ioB
DB | Byte | Bit | Name | Description | Type | Length | Unit | Role | Room | poll | RW | WP | DB content
20 | 0 | 0 | SWITCH_01 | turn on and off light 1 | BOOL |  |  |  |  | true | true | false | SWITCH_01:BOOL:=false;//turn on and off light 1
20 | 0 | 1 | SWITCH_02 | turn on and off light 2 | BOOL |  |  |  |  | true | true | false | SWITCH_02:BOOL:=false;//turn on and off light 2
20 | 0 | 2 | SWITCH_03 | turn on and off light 3 | BOOL |  |  |  |  | true | true | false | SWITCH_03:BOOL:=false;//turn on and off light 3
20 | 0 | 3 | SWITCH_04 | turn on and off light 4 | BOOL |  |  |  |  | true | true | false | SWITCH_04:BOOL:=false;//turn on and off light 4
20 | 0 | 4 | SWITCH_05 | turn on and off light 5 | BOOL |  |  |  |  | true | true | false | SWITCH_05:BOOL:=false;//turn on and off light 5
20 | 0 | 5 | SWITCH_06 | turn on and off light 6 | BOOL |  |  |  |  | true | true | false | SWITCH_06:BOOL:=false;//turn on and off light 6
20 | 0 | 6 | SWITCH_07 | turn on and off light 7 | BOOL |  |  |  |  | true | true | false | SWITCH_07:BOOL:=false;//turn on and off light 7
20 | 0 | 7 | SWITCH_08 | turn on and off light 8 | BOOL |  |  |  |  | true | true | false | SWITCH_08:BOOL:=false;//turn on and off light 8
20 | 1 | 0 | SWITCH_09 | turn on and off light 9 | BOOL |  |  |  |  | true | true | false | SWITCH_09:BOOL:=false;//turn on and off light 9
20 | 1 | 1 | SWITCH_10 | turn on and off light 10 | BOOL |  |  |  |  | true | true | false | SWITCH_10:BOOL:=false;//turn on and off light 10
20 | 1 | 2 | SWITCH_11 | turn on and off light 11 | BOOL |  |  |  |  | true | true | false | SWITCH_11:BOOL:=false;//turn on and off light 11
20 | 1 | 3 | SWITCH_12 | turn on and off light 12 | BOOL |  |  |  |  | true | true | false | SWITCH_12:BOOL:=false;//turn on and off light 12
20 | 1 | 4 | SWITCH_13 | turn on and off light 13 | BOOL |  |  |  |  | true | true | false | SWITCH_13:BOOL:=false;//turn on and off light 13
20 | 1 | 5 | SWITCH_14 | turn on and off light 14 | BOOL |  |  |  |  | true | true | false | SWITCH_14:BOOL:=false;//turn on and off light 14
20 | 1 | 6 | SWITCH_15 | turn on and off light 15 | BOOL |  |  |  |  | true | true | false | SWITCH_15:BOOL:=false;//turn on and off light 15
20 | 1 | 7 | SWITCH_16 | turn on and off light 16 | BOOL |  |  |  |  | true | true | false | SWITCH_16:BOOL:=false;//turn on and off light 16
20 | 2 | 0 | SWITCH_17 | turn on and off light 17 | BOOL |  |  |  |  | true | true | false | SWITCH_17:BOOL:=false;//turn on and off light 17
20 | 2 | 1 | SWITCH_18 | turn on and off light 18 | BOOL |  |  |  |  | true | true | false | SWITCH_18:BOOL:=false;//turn on and off light 18

## DB21 bin to ioB
DB | Byte | Bit | Name | Description | Type | Length | Unit | Role | Room | poll | RW | WP | DB content
21 | 0 | 0 | STATUS_01 | feedback or alarm 1 | BOOL |  |  |  |  | true | false | false | STATUS_01:BOOL:=false;//feedback or alarm 1
21 | 0 | 1 | STATUS_02 | feedback or alarm 2 | BOOL |  |  |  |  | true | false | false | STATUS_02:BOOL:=false;//feedback or alarm 2
21 | 0 | 2 | STATUS_03 | feedback or alarm 3 | BOOL |  |  |  |  | true | false | false | STATUS_03:BOOL:=false;//feedback or alarm 3
21 | 0 | 3 | STATUS_04 | feedback or alarm 4 | BOOL |  |  |  |  | true | false | false | STATUS_04:BOOL:=false;//feedback or alarm 4
21 | 0 | 4 | STATUS_05 | feedback or alarm 5 | BOOL |  |  |  |  | true | false | false | STATUS_05:BOOL:=false;//feedback or alarm 5
21 | 0 | 5 | STATUS_06 | feedback or alarm 6 | BOOL |  |  |  |  | true | false | false | STATUS_06:BOOL:=false;//feedback or alarm 6
21 | 0 | 6 | STATUS_07 | feedback or alarm 7 | BOOL |  |  |  |  | true | false | false | STATUS_07:BOOL:=false;//feedback or alarm 7
21 | 0 | 7 | STATUS_08 | feedback or alarm 8 | BOOL |  |  |  |  | true | false | false | STATUS_08:BOOL:=false;//feedback or alarm 8
21 | 1 | 0 | STATUS_09 | feedback or alarm 9 | BOOL |  |  |  |  | true | false | false | STATUS_09:BOOL:=false;//feedback or alarm 9
21 | 1 | 1 | STATUS_10 | feedback or alarm 10 | BOOL |  |  |  |  | true | false | false | STATUS_10:BOOL:=false;//feedback or alarm 10
21 | 1 | 2 | STATUS_11 | feedback or alarm 11 | BOOL |  |  |  |  | true | false | false | STATUS_11:BOOL:=false;//feedback or alarm 11
21 | 1 | 3 | STATUS_12 | feedback or alarm 12 | BOOL |  |  |  |  | true | false | false | STATUS_12:BOOL:=false;//feedback or alarm 12
21 | 1 | 4 | STATUS_13 | feedback or alarm 13 | BOOL |  |  |  |  | true | false | false | STATUS_13:BOOL:=false;//feedback or alarm 13
21 | 1 | 5 | STATUS_14 | feedback or alarm 14 | BOOL |  |  |  |  | true | false | false | STATUS_14:BOOL:=false;//feedback or alarm 14
21 | 1 | 6 | STATUS_15 | feedback or alarm 15 | BOOL |  |  |  |  | true | false | false | STATUS_15:BOOL:=false;//feedback or alarm 15
21 | 1 | 7 | STATUS_16 | feedback or alarm 16 | BOOL |  |  |  |  | true | false | false | STATUS_16:BOOL:=false;//feedback or alarm 16
21 | 2 | 0 | STATUS_17 | feedback or alarm 17 | BOOL |  |  |  |  | true | false | false | STATUS_17:BOOL:=false;//feedback or alarm 17
21 | 2 | 1 | STATUS_18 | feedback or alarm 18 | BOOL |  |  |  |  | true | false | false | STATUS_18:BOOL:=false;//feedback or alarm 18

## DB22 real from ioB
DB | Byte | Bit | Name | Description | Type | Length | Unit | Role | Room | poll | RW | WP | DB content
22 | 0 |  | SETP_01 | Setpoint 1 | REAL |  |  |  |  | true | true | false | SETP_01:REAL:=0.000000e+000;//Setpoint 1
22 | 4 |  | SETP_02 | Setpoint 2 | REAL |  |  |  |  | true | true | false | SETP_02:REAL:=0.000000e+000;//Setpoint 2
22 | 8 |  | SETP_03 | Setpoint 3 | REAL |  |  |  |  | true | true | false | SETP_03:REAL:=0.000000e+000;//Setpoint 3
22 | 12 |  | SETP_04 | Setpoint 4 | REAL |  |  |  |  | true | true | false | SETP_04:REAL:=0.000000e+000;//Setpoint 4
22 | 16 |  | SETP_05 | Setpoint 5 | REAL |  |  |  |  | true | true | false | SETP_05:REAL:=0.000000e+000;//Setpoint 5
22 | 20 |  | SETP_06 | Setpoint 6 | REAL |  |  |  |  | true | true | false | SETP_06:REAL:=0.000000e+000;//Setpoint 6
22 | 24 |  | SETP_07 | Setpoint 7 | REAL |  |  |  |  | true | true | false | SETP_07:REAL:=0.000000e+000;//Setpoint 7
22 | 28 |  | SETP_08 | Setpoint 8 | REAL |  |  |  |  | true | true | false | SETP_08:REAL:=0.000000e+000;//Setpoint 8
22 | 32 |  | SETP_09 | Setpoint 9 | REAL |  |  |  |  | true | true | false | SETP_09:REAL:=0.000000e+000;//Setpoint 9
22 | 36 |  | SETP_10 | Setpoint 10 | REAL |  |  |  |  | true | true | false | SETP_10:REAL:=0.000000e+000;//Setpoint 10
22 | 40 |  | SETP_11 | Setpoint 11 | REAL |  |  |  |  | true | true | false | SETP_11:REAL:=0.000000e+000;//Setpoint 11
22 | 44 |  | SETP_12 | Setpoint 12 | REAL |  |  |  |  | true | true | false | SETP_12:REAL:=0.000000e+000;//Setpoint 12
22 | 48 |  | SETP_13 | Setpoint 13 | REAL |  |  |  |  | true | true | false | SETP_13:REAL:=0.000000e+000;//Setpoint 13
22 | 52 |  | SETP_14 | Setpoint 14 | REAL |  |  |  |  | true | true | false | SETP_14:REAL:=0.000000e+000;//Setpoint 14
22 | 56 |  | SETP_15 | Setpoint 15 | REAL |  |  |  |  | true | true | false | SETP_15:REAL:=0.000000e+000;//Setpoint 15
22 | 60 |  | SETP_16 | Setpoint 16 | REAL |  |  |  |  | true | true | false | SETP_16:REAL:=0.000000e+000;//Setpoint 16
22 | 64 |  | SETP_17 | Setpoint 17 | REAL |  |  |  |  | true | true | false | SETP_17:REAL:=0.000000e+000;//Setpoint 17
22 | 68 |  | SETP_18 | Setpoint 18 | REAL |  |  |  |  | true | true | false | SETP_18:REAL:=0.000000e+000;//Setpoint 18

## DB23 real to ioB
DB | Byte | Bit | Name | Description | Type | Length | Unit | Role | Room | poll | RW | WP | DB content
23 | 0 |  | TEMP_01 | Temperature 1 | REAL |  |  |  |  | true | false | false | TEMP_01:REAL:=0.000000e+000;//Temperature 1
23 | 4 |  | TEMP_02 | Temperature 2 | REAL |  |  |  |  | true | false | false | TEMP_02:REAL:=0.000000e+000;//Temperature 2
23 | 8 |  | TEMP_03 | Temperature 3 | REAL |  |  |  |  | true | false | false | TEMP_03:REAL:=0.000000e+000;//Temperature 3
23 | 12 |  | TEMP_04 | Temperature 4 | REAL |  |  |  |  | true | false | false | TEMP_04:REAL:=0.000000e+000;//Temperature 4
23 | 16 |  | TEMP_05 | Temperature 5 | REAL |  |  |  |  | true | false | false | TEMP_05:REAL:=0.000000e+000;//Temperature 5
23 | 20 |  | TEMP_06 | Temperature 6 | REAL |  |  |  |  | true | false | false | TEMP_06:REAL:=0.000000e+000;//Temperature 6
23 | 24 |  | TEMP_07 | Temperature 7 | REAL |  |  |  |  | true | false | false | TEMP_07:REAL:=0.000000e+000;//Temperature 7
23 | 28 |  | TEMP_08 | Temperature 8 | REAL |  |  |  |  | true | false | false | TEMP_08:REAL:=0.000000e+000;//Temperature 8
23 | 32 |  | TEMP_09 | Temperature 9 | REAL |  |  |  |  | true | false | false | TEMP_09:REAL:=0.000000e+000;//Temperature 9
23 | 36 |  | TEMP_10 | Temperature 10 | REAL |  |  |  |  | true | false | false | TEMP_10:REAL:=0.000000e+000;//Temperature 10
23 | 40 |  | TEMP_11 | Temperature 11 | REAL |  |  |  |  | true | false | false | TEMP_11:REAL:=0.000000e+000;//Temperature 11
23 | 44 |  | TEMP_12 | Temperature 12 | REAL |  |  |  |  | true | false | false | TEMP_12:REAL:=0.000000e+000;//Temperature 12
23 | 48 |  | TEMP_13 | Temperature 13 | REAL |  |  |  |  | true | false | false | TEMP_13:REAL:=0.000000e+000;//Temperature 13
23 | 52 |  | TEMP_14 | Temperature 14 | REAL |  |  |  |  | true | false | false | TEMP_14:REAL:=0.000000e+000;//Temperature 14
23 | 56 |  | TEMP_15 | Temperature 15 | REAL |  |  |  |  | true | false | false | TEMP_15:REAL:=0.000000e+000;//Temperature 15
23 | 60 |  | TEMP_16 | Temperature 16 | REAL |  |  |  |  | true | false | false | TEMP_16:REAL:=0.000000e+000;//Temperature 16
23 | 64 |  | TEMP_17 | Temperature 17 | REAL |  |  |  |  | true | false | false | TEMP_17:REAL:=0.000000e+000;//Temperature 17
23 | 68 |  | TEMP_18 | Temperature 18 | REAL |  |  |  |  | true | false | false | TEMP_18:REAL:=0.000000e+000;//Temperature 18